## WHRB Parameters Required
Qingdao Kaineng Environmental Protection Technology Co.,Ltd
Add: No.3 Guizhou Branch Road, Beiguan industrial park, Jiaozhou, Qingdao, China, Web: www.knkj88.com, Email: knec@kaineng.cn
Thanks for your inquiry, in order to better meet your needs, please kindly provide us the following information:
| Your Company Name: |  | Your Name:
| Your Email: |  | Your Phone No.:
Parameters Required for Waste Heat Boiler Design (To Generate Steam) 余热锅炉设计所需参数（产蒸汽） |  |  |  |  | Parameters Required for Waste Heat Boiler Design (To Generate Hot Water) 余热锅炉设计所需参数（产热水）
No. | Item (Red line is required) | Data (Customer fill in) | Unit | Remarks | No. | Item (Red line is required) | Data (Customer fill in) | Unit | Remarks
1 | Engine set model number 发电机组型号 |  |  |  | 1 | Generator set model number 发电机组型号
2 | Engine capacity 发电机组功率 |  | KW |  | 2 | Generator set capacity 发电机组功率 |  | KW
3 | Numbers of Engines * 发电机组数量 |  | Set |  | 3 | Numbers of Engines * 发电机组数量 |  | Set
4 | Fuel of Engines * 发电机组燃料 |  |  | Natural gas / Diesel/ HFO | 4 | Fuel of Engines * 发电机组燃料
5 | High temperature gas Utilization pattern * 高温烟气利用方式 |  |  | One with one Or more with one 一配一或者是多配一 | 5 | High temperature gas Utilization pattern * 高温烟气利用方式 |  |  | One with one Or more with one 一配一或者是多配一
6 | Gas flow per generator set * 单台机组烟气流量 |  | Nm3/h | Standard condition (or Working condition) 标况（填写标况或工况均可） | 6 | Gas flow per generator set * 单台机组烟气流量 |  | Nm3/h | Standard condition (or Working condition) 标况（填写标况或工况均可）
7 | Gas flow per generator set * 单台机组烟气流量 |  | m3/h | Working condition (or Standard condition) 工况（填写标况或工况均可） | 7 | Gas flow per generator set * 单台机组烟气流量 |  | m3/h | Working condition (or Standard condition) 工况（填写标况或工况均可）
8 | Flue gas temperature at inlet of waste heat boiler * 余热锅炉进口烟温 |  | ℃ | Exhaust Gas Boiler inlet gas temperature 烟气进入余热锅炉的温度 | 8 | Flue gas temperature at inlet of waste heat boiler * 余热锅炉进口烟温 |  | ℃ | Boiler inlet gas temperature 烟气进入余热锅炉的温度
9 | Flue gas temperature at outlet of waste heat boiler 余热锅炉出口烟温 |  | ℃ | If no requirement, no need to fill 对烟气出口温度没有要求可以不填 | 9 | Boiler outlet flue gas temperature 余热锅炉出口烟温 |  | ℃ | If no requirement for gas outlet temperature, no need to fill 对烟气出口温度没有要求可以不填
10 | exhaust gas components 烟气成份 |  |  | Gas composition 烟气中的气体成分 | 10 | Exhaust gas component 烟气成份 |  |  | Gas composition 烟气中的气体成分
11 | Soot amount 烟尘含量 |  | g/Nm3 | Soot amount 烟气中粉尘的含量 | 11 | Soot amount 烟尘含量 |  | g/Nm3 | Soot amount 烟气中粉尘的含量
12 | Soot composition 烟尘成份 |  |  | Soot composition 烟气中粉尘的成分 | 12 | Soot composition 烟尘成份 |  |  | Soot composition 烟气中粉尘的成分
13 | Steam pressure of waste heat boiler's rated * 余热蒸汽锅炉的额定蒸汽压力 |  | Mpa | please provide rated steam pressure 需要提供蒸汽的额定工作压力 | 13 | Working pressure of hot water boiler * 余热热水锅炉额定工作压力 |  | Mpa | Please provide rated hot water working pressure 需要提供热水的额定工作压力
14 | Steam temperature of waste heat boiler 余热蒸汽锅炉的额定蒸汽温度 |  | ℃ | If produce superheated steam, please tell us your required superheated steam temperature 如果余热锅炉产过热蒸汽，需要提供过热蒸汽温度 | 14 | Hot water boiler rated output water temperature 余热热水锅炉的额定出水温度 |  | ℃ | Outlet water temperature 需要提供出口水温度（或根据水流量确定）
15 | Feed water temperature of waste heat boiler * 余热蒸汽锅炉给水温度 |  | ℃ | Feed water temperature 提供补给水温度 | 15 | Inlet water temperature of waste heat boiler * 余热热水锅炉的额定进水温度 |  | ℃ | Feed water temperature 提供进口给水温度
16 | Boiler steam separator (Steam drum) 余热锅炉汽水分离器(汽包)配置 |  | Set |  | 16 | Water capacity of waste heat boiler 余热热水锅炉的水流量 |  | t/h | Rated water capacity 需要提供额定水流量
17 | Boiler erection mode 余热锅炉安装型式 |  |  | Vertical or horizontal boiler according to the site condition. 根据现场情况需要立式或者是卧式 | 17 | Boiler erection mode 余热锅炉安装型式 |  |  | Vertical or horizontal boiler according to the site condition. 根据现场情况需要立式或者是卧式
18 | Boiler flue gas inlet dimension 余热锅炉烟气进口尺寸 |  | DN | Diameter of original gas duct, and dimension of counter flange 原烟道直径及接口法兰尺寸 | 18 | Boiler flue gas inlet dimension 余热锅炉烟气进口尺寸 |  | DN | Diameter of original gas duct, and dimension of counter flange 原烟道直径及接口法兰尺寸
19 | The height of original gas duct to ground center. 原烟道距离地面中心距高度 |  |  |  | 19 | The height of original gas duct to ground center. 原烟道距离地面中心距高度