## Sheet1
Qingdao Kaineng Environmental Protection Technology Co.,Ltd
Add: No.3 Guizhou Branch Road, Beiguan industrial park, Jiaozhou, Qingdao, China, Web: www.knkj88.com, Email: knec@kaineng.cn
Thanks for your inquiry, in order to better meet your needs, please kindly provide us the following information:
Your Company Name: |  |  | Your Name:
Your Email: |  |  | Your Phone No.:
Parameter for Exhaust Gas Boiler Design（Produce steam）
No. | Item (Red line is necessary) | Data (Filled up by buyer) | Unit | Remarks
1 | Furnace output 炉功率 |  | KVA
2 | Furnace annual capacity 年产量
3 | Furnace daily capacity 日产量
4 | Furnace quantity * 数量 |  | unit
5 | the usage of the produced steam 高温烟气利用方式 |  |  | Usually for generating electricity 常规配置为发电
6 | Furnace flue flow/furnace * 单台炉烟气流量 |  | Nm3/h | Normal condition 标况（填写标况或工况均可）
7 | Furnace flue flow/furnace * 单台炉烟气流量 |  | m3/h | Working condition 工况（填写标况或工况均可）
8 | Exhaust gas boiler inlet flue gas temprature * 余热锅炉进口烟温 |  | ℃
9 | Exhaust gas boiler outlet flue gas temprature 余热锅炉出口烟温 |  | ℃ | If any demand
10 | Flue gas content * 烟气成份 |  |  | Considering the corrosion &combustible 烟气中的气体成分（考虑可燃及防腐）
11 | Flue dust content * 烟尘含量 |  | g/Nm3 | Working condition or normal condition 烟气中粉尘的含量（标况或工况需要说明）
12 | Flue dust particle size 烟尘粒度
13 | Soot content 烟尘成份 |  |  | soot content in the gas 烟气中粉尘的成分
14 | Rated steam pressure of the exhaust gas boiler * 余热锅炉的额定蒸汽压力 |  | Mpa | Can be determined by steam turbine 可以根据汽轮机选取
15 | Rated steam temprature of the exhaust gas boiler* 余热蒸汽锅炉的额定蒸汽温度 |  | ℃ | Can be determined by steam turbine 可以根据汽轮机选取
16 | Feed water temp. for the exhaust gas boiler * 余热锅炉给水温度 |  | ℃ | Feedwater temperature 提供补给水温度
17 | Installing type for the exhaust gas boiler 余热锅炉安装型式 |  |  | usually vertical 常规配置为立式
18 | Inlet pipe size of the exhaust gas boiler 余热锅炉烟气进口尺寸 |  | DN | Diameter of the flue gas duct and the size of the flange 原烟道直径及接口法兰尺寸
19 | Flue gas pipe hight from the ground 原烟道中心距离地面高度 |  | m